LXLC-50-200/ED Complete Electronical Water Meter

Application:

--Measuring the total volume of cold(hot) water passing through the pipeline.

-NOTE:This type of water meter can be used for a reading transmission system as equipped with a built-in-sensor

Feature:

1. Whole water meter has only one movable part of impeller, it greatly reduces mechanical wear and prolongs the working life

2.Increase much of the sensitivity of measurement, solve the problem of small flow measurement of mechanical water meter, range ratio reaches R200, range ratio of some diameters can be made larger

3.Optimized error curve of water meter by piecewise linear , measurement accuracy is more high

4.Reading display of digital LCD , indicate accurate information correctly

5.No magnetic design of whole water meter, avoid magnetic-field interference

- Prompt and accurate measurement of the retrorse water flow

- Display function of instantaneous flow, may be calibrated on-site

- Modular design, easy to install and maintain

- Automatic processing different price of using water

10.Combine with valve , realize the function of prepaid and remote control

11. Automatic storage of historical data of using water

12.Output Model: M-BUS

- Remote diagnosis running status

- Automatically upload data on specified date

- Protection grade: IP68

Technical Parameters:

Quiescent current: 6µA

Dynamic working current: 9µA

Communication working current: 500µA

Continuous working time: 6 years, 70% of remaining power

Power supply: 3.6V

Working temperature: -10~50℃

Storage temperature: -10~60℃

Working condition:

Water temperature: T30 T50

Water pressure class: MAP16  MAP10

Pressure-loss Class: △p63

Installation environment: Class B

Electromagnetic environment: Class E1

Accurancy:

(1) From minimum flow-rate(Q1) inclusive to transitional flow-rate(Q2) exclusive±5%.

(2) From transitional flow-rate(Q2) to overload flow-rate(Q4):±2%（Hot water meter: ±3%）

DIMENSION

| Type | Size |  | L Length | H Height | Connecting flange |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | φD1 Outside diameter | φD2 Bolt circle diameter | Connecting Bolts (n-M) |
|  | mm |  |  |  |  |  |  |
| LXLC-50/ED | 2" | 200 |  | 261 | 165 | 125 | 4-M16 |
| LXLC-65/ED | 2½" | 200 |  | 271 | 185 | 145 | 4-M16 |
| LXLC-80/ED | 3" | 225 |  | 279 | 200 | 160 | 8-M16 |
| LXLC-100/ED | 4" | 250 |  | 289 | 220 | 180 | 8-M16 |
| LXLC-125/ED | 5" | 250 |  | 299 | 250 | 210 | 8-M16 |
| LXLC-150/ED | 6" | 300 |  | 319 | 285 | 240 | 8-M20 |
| LXLC-200/ED | 8" | 350 |  | 346 | 340 | 295 | 8-M20(1.0MPa) |
|  |  |  |  |  |  |  | 12-M20(1.6MPa) |

| Type | Size | Overload Flow(Q4) | Permanent Flow(Q3) | Q3/Q1 (R) | Transitionanl Flow (Q2) | Min.Flow Q1 | Min. reading | Max. Reading |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LXLC-50/ED | 2" | 31.25 | 25 | 80 | 0.5 | 0.3 | User Mode 0.01 Test Mode 0.001L | 999999.99 |
|  |  |  |  | 100 | 0.4 | 0.25 |  |  |
|  |  |  |  | 125 | 0.32 | 0.2 |  |  |
|  |  | 50 | 40 | 100 | 0.64 | 0.4 |  |  |
|  |  |  |  | 125 | 0.512 | 0.32 |  |  |
|  |  |  |  | 160 | 0.4 | 0.25 |  |  |
|  |  |  |  | 200 | 0.32 | 0.2 |  |  |
| LXLC-65/ED | 2½" | 50 | 40 | 80 | 0.8 | 0.5 |  |  |
|  |  |  |  | 100 | 0.64 | 0.4 |  |  |
|  |  |  |  | 125 | 0.512 | 0.32 |  |  |
|  |  |  |  | 160 | 0.4 | 0.25 |  |  |
|  |  | 78.75 | 63 | 100 | 1 | 0.63 |  |  |
|  |  |  |  | 125 | 0.8 | 0.5 |  |  |
|  |  |  |  | 160 | 0.63 | 0.4 |  |  |
|  |  |  |  | 200 | 0.512 | 0.32 |  |  |
|  |  |  |  | 250 | 0.4 | 0.25 |  |  |
| LXLC-80/ED | 3" | 78.75 | 63 | 80 | 1.26 | 0.78 |  |  |
|  |  |  |  | 100 | 1 | 0.63 |  |  |
|  |  |  |  | 125 | 0.8 | 0.5 |  |  |
|  |  |  |  | 160 | 0.63 | 0.4 |  |  |
|  |  | 125 | 100 | 100 | 1.6 | 1 |  |  |
|  |  |  |  | 125 | 1.25 | 0.8 |  |  |
|  |  |  |  | 160 | 1 | 0.63 |  |  |
|  |  |  |  | 200 | 0.8 | 0.5 |  |  |
|  |  |  |  | 250 | 0.63 | 0.4 |  |  |
| LXLC-100/ED | 4" | 125 | 100 | 80 | 2 | 1.25 |  |  |
|  |  |  |  | 100 | 1.6 | 1 |  |  |
|  |  |  |  | 125 | 1.25 | 0.8 |  |  |
|  |  |  |  | 160 | 1 | 0.63 |  |  |
|  |  | 200 | 160 | 100 | 2.56 | 1.6 |  |  |
|  |  |  |  | 125 | 2 | 1.28 |  |  |
|  |  |  |  | 160 | 1.6 | 1 |  |  |
|  |  |  |  | 200 | 1.25 | 0.8 |  |  |
|  |  |  |  | 250 | 1 | 0.64 |  |  |
| LXLC-125/ED | 5" | 200 | 160 | 80 | 3.2 | 2 |  |  |
|  |  |  |  | 100 | 2.56 | 1.6 |  |  |
|  |  |  |  | 125 | 2 | 1.28 |  |  |
|  |  |  |  | 160 | 1.6 | 1 |  |  |
|  |  | 312.5 | 250 | 100 | 4 | 2.5 |  |  |
|  |  |  |  | 125 | 3.2 | 2 |  |  |
|  |  |  |  | 160 | 2.56 | 1.6 |  |  |
|  |  |  |  | 200 | 2 | 1.25 |  |  |
|  |  |  |  | 250 | 1.6 | 1 |  |  |

| Type | Size | Overload Flow(Q4) | Permanent Flow(Q3) | Q3/Q1 (R) | Transitionanl Flow (Q2) | Min.Flow Q1 | Min. reading | Max. Reading |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LXLC-150/ED | 6" | 312.5 | 250 | 100 | 4 | 2.5 | User Mode 0.01 Test Mode 0.001L | 999999.99 |
|  |  |  |  | 125 | 3.2 | 2 |  |  |
|  |  |  |  | 160 | 2.56 | 1.6 |  |  |
|  |  | 500 | 400 | 125 | 5.12 | 3.2 |  |  |
|  |  |  |  | 160 | 4 | 2.5 |  |  |
|  |  |  |  | 200 | 3.2 | 2 |  |  |
|  |  |  |  | 250 | 2.56 | 1.6 |  |  |
| LXLC-200/ED | 8" | 500 | 400 | 125 | 5.12 | 3.2 |  |  |
|  |  |  |  | 160 | 4 | 2.5 |  |  |
|  |  |  |  | 200 | 3.2 | 2 |  |  |
|  |  | 787.7 | 630 | 125 | 8 | 5 |  |  |
|  |  |  |  | 160 | 6.3 | 4 |  |  |
|  |  |  |  | 200 | 5 | 3.15 |  |  |

LIANYUNGANG HYTTEN METER CO.,LTD.

Address: NO.8 Hanguo Industrial Development Zone,Luoyang village,Dunshang Town,Ganyu District, Lianyungang City.

Tel：0518-85907891         Fax：0518-85907892

Http：//www. hyttenmeter.com  E-mail：hytten@hyttenmeter.com